## Sheet1
DESIGN OF SOLAR PANEL / BATTERY BANK / INVERTOR
First Enter Your Electrical Load Detail in Electrical Load Sheet
Solar Panel Detail | [5 empty] | Battery Bank Details
Solar System Voltage | 48 | Volts DC |  |  |  | Battery Bank's Voltage | 48 | Volts DC
Losses in Wire,Connection,Battery | 25 | % |  |  |  | Reaserve Day: (How many days of capacity you want your batteries to Give you Current) | 2 | Days
Daily Sunshine Hours
In Winter | 6 | Hrs. | (For SA 4 To 6 Hrs) |  |  | Loose Connection/Wire Loss Factor: | 20 | % | 0.2
In Summer | 6 | Hrs. |  |  |  | Battery Efficiency | 100 | % | 1
In Monsoon | 6 | Hrs. |  |  |  | Battery Aging: | 20 | % | 0.2
Average Daily Sunshine Hours | 6 | Hrs. |  |  |  | Depth of Discharge:(DOD) | 50 | % | 0.5
Total Solar Power need | 8800 | Watt.Hr/Day |  |  |  | Battery Operating Temp: | 80
Total Solar Power after Correction Factor | 11000 | Watt.Hr/Day |  |  |  | The Battery Bank Required: | 1056 | Amp.Hr
Solar Array Size after Calculating Sun Hour | 1833.3333 | Watt |  |  |  | Enter Each Battery Rating | 200 | Amp.Hr @ | 48 | volts | 1
Select Size of Solar Panel | 120 | watt | 48 | Volts | 0 | Batteries connection for Battery Bank
Solar Panel Connetion
:Solar Panel : | [5 empty] | :Battery Bank :
[6 empty] | Type of Connection For Batteries | Parral Connection
Type of Connection For Solar Panel | Parral Connection |  |  |  |  | Selection of Batteries Connection: | O.K
Selection of Solar Panel Connection: | O.K |  |  |  |  | Selection of Each Battery Voltage | O.K
Selection of Each Solar Panel Voltage | O.K |  |  |  |  | Number of String for Battries | 5 | Nos
Number of String for Solar Panel | 15 | Nos |  |  |  | Total Amp.Hr of Each String | 200 | Amp.Hr
Total Watt of Each Solar Panel String | 120 | Watt |  |  |  | Total No of Battery in Each String | 1 | Nos
Total No of Solar Panel in Each String | 1 | Nos
[6 empty] | Total Battery Bank Amp.Hr | 1000 | Amp.Hr
Total Watts of Solar Panel | 1800 | Watt |  |  |  | Total Nos of Batteries in Battery Bank | 5 | Nos
Total Nos of Solar Panels | 15 | Nos
:SIZE OF INVERTOR:
CALCULATIONS:
Effieciency of Invertor | 100 | % |  |  |  | Total KW.Hr/Day | 8800 | Watt.Hr/Day
Enter Additional futurte Load Expansion | 0 | % |  |  |  | Total Amp.Hr | 183.3333 | Amp.Hr
Size of Invertor | 810 | KW |  |  |  | Average Load | 220 | Amp.Hr
[6 empty] | Storage Required | 440 | Amp.Hr
[6 empty] | Battery Aging | 528 | Amp.Hr
[6 empty] | Including Operating Temp | 528 | Amp.Hr
[6 empty] | Depth of Discharge | 1056 | Amp.Hr